## Total data
No | Phase-to-phase Voltage (Vrms) kV | Phase angle | Frequency | Fault ground Resistance Ω | Fault Location | MaxCoefA | MaxCoefB | MaxCoefC | MaxCoefGnd | A | B | C | G
1 | 250 | 0 | 60 | 0.1 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 79893.3011 | 1 | 1 | 1 | 1
2 | 250 | 0 | 60 | 0.1 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
3 | 250 | 0 | 60 | 0.1 | Before transmission line | 10803035.42 | 20464068.14 | 103.9772 | 86421.4786 | 1 | 1 | 0 | 1
4 | 250 | 0 | 60 | 0.1 | Before transmission line | 20261370.35 | 103.9772 | 8624427.558 | 202614.0722 | 1 | 0 | 1 | 1
5 | 250 | 0 | 60 | 0.1 | Before transmission line | 103.9784 | 40725475.36 | 7176136.722 | 99363.726 | 0 | 1 | 1 | 1
6 | 250 | 0 | 60 | 0.1 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
7 | 250 | 0 | 60 | 0.1 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
8 | 250 | 0 | 60 | 0.1 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
9 | 250 | 0 | 60 | 0.1 | Before transmission line | 159569.0423 | 103.9772 | 103.9772 | 170252.9871 | 1 | 0 | 0 | 1
10 | 250 | 0 | 60 | 0.1 | Before transmission line | 103.9784 | 403268.9145 | 128.9201 | 129747.0043 | 0 | 1 | 0 | 1
11 | 250 | 0 | 60 | 0.1 | Before transmission line | 103.9784 | 103.9772 | 160779.452 | 403222.0644 | 0 | 0 | 1 | 1
12 | 250 | 0 | 60 | 0.1 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
13 | 250 | 0 | 60 | 0.2 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 40191.6674 | 1 | 1 | 1 | 1
14 | 250 | 0 | 60 | 0.2 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
15 | 250 | 0 | 60 | 0.2 | Before transmission line | 10541882.03 | 20413540.94 | 103.9772 | 43240.8096 | 1 | 1 | 0 | 1
16 | 250 | 0 | 60 | 0.2 | Before transmission line | 20311897.55 | 103.9772 | 8648865.213 | 101559.6721 | 1 | 0 | 1 | 1
17 | 250 | 0 | 60 | 0.2 | Before transmission line | 103.9784 | 40725475.36 | 7428001.732 | 49903.181 | 0 | 1 | 1 | 1
18 | 250 | 0 | 60 | 0.2 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
19 | 250 | 0 | 60 | 0.2 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
20 | 250 | 0 | 60 | 0.2 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
21 | 250 | 0 | 60 | 0.2 | Before transmission line | 80558.7655 | 103.9772 | 103.9772 | 85403.1725 | 1 | 0 | 0 | 1
22 | 250 | 0 | 60 | 0.2 | Before transmission line | 103.9784 | 202660.9222 | 128.6014 | 65407.2607 | 0 | 1 | 0 | 1
23 | 250 | 0 | 60 | 0.2 | Before transmission line | 103.9784 | 103.9772 | 81018.7426 | 202614.0722 | 0 | 0 | 1 | 1
24 | 250 | 0 | 60 | 0.2 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
25 | 250 | 0 | 60 | 0.3 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 26849.249 | 1 | 1 | 1 | 1
26 | 250 | 0 | 60 | 0.3 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
27 | 250 | 0 | 60 | 0.3 | Before transmission line | 10598171.35 | 20396642.49 | 103.9772 | 28839.3902 | 1 | 1 | 0 | 1
28 | 250 | 0 | 60 | 0.3 | Before transmission line | 20328796 | 103.9772 | 8656263.674 | 67762.7762 | 1 | 0 | 1 | 1
29 | 250 | 0 | 60 | 0.3 | Before transmission line | 103.9784 | 40725475.36 | 8046057.4 | 33314.9255 | 0 | 1 | 1 | 1
30 | 250 | 0 | 60 | 0.3 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
31 | 250 | 0 | 60 | 0.3 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
32 | 250 | 0 | 60 | 0.3 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
33 | 250 | 0 | 60 | 0.3 | Before transmission line | 53888.4224 | 103.9772 | 103.9772 | 56997.1982 | 1 | 0 | 0 | 1
34 | 250 | 0 | 60 | 0.3 | Before transmission line | 103.9784 | 135347.277 | 128.4948 | 43724.4084 | 0 | 1 | 0 | 1
35 | 250 | 0 | 60 | 0.3 | Before transmission line | 103.9784 | 103.9772 | 54161.4133 | 135300.4269 | 0 | 0 | 1 | 1
36 | 250 | 0 | 60 | 0.3 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
37 | 250 | 0 | 60 | 0.4 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 20157.5386 | 1 | 1 | 1 | 1
38 | 250 | 0 | 60 | 0.4 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
39 | 250 | 0 | 60 | 0.4 | Before transmission line | 9348589.75 | 20388182.72 | 103.9772 | 21207.2512 | 1 | 1 | 0 | 1
40 | 250 | 0 | 60 | 0.4 | Before transmission line | 20337255.77 | 105.2671 | 7557852.683 | 50843.2316 | 1 | 0 | 1 | 1
41 | 250 | 0 | 60 | 0.4 | Before transmission line | 134.966 | 40725475.36 | 7155479.278 | 24302.1739 | 0 | 1 | 1 | 1
42 | 250 | 0 | 60 | 0.4 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
43 | 250 | 0 | 60 | 0.4 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
44 | 250 | 0 | 60 | 0.4 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
45 | 250 | 0 | 60 | 0.4 | Before transmission line | 40490.1347 | 103.9772 | 103.9772 | 42771.0924 | 1 | 0 | 0 | 1
46 | 250 | 0 | 60 | 0.4 | Before transmission line | 103.9784 | 101606.5222 | 128.4415 | 32838.2796 | 0 | 1 | 0 | 1
47 | 250 | 0 | 60 | 0.4 | Before transmission line | 103.9784 | 103.9772 | 40681.5941 | 101559.6721 | 0 | 0 | 1 | 1
48 | 250 | 0 | 60 | 0.4 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
49 | 250 | 0 | 60 | 0.5 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 16135.9328 | 1 | 1 | 1 | 1
50 | 250 | 0 | 60 | 0.5 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
51 | 250 | 0 | 60 | 0.5 | Before transmission line | 10795306.02 | 20383103.48 | 103.9772 | 17456.533 | 1 | 1 | 0 | 1
52 | 250 | 0 | 60 | 0.5 | Before transmission line | 20342335.02 | 103.9772 | 8616010.262 | 40684.7438 | 1 | 0 | 1 | 1
53 | 250 | 0 | 60 | 0.5 | Before transmission line | 103.9784 | 40725475.36 | 7278860.947 | 18873.4976 | 0 | 1 | 1 | 1
54 | 250 | 0 | 60 | 0.5 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
55 | 250 | 0 | 60 | 0.5 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
56 | 250 | 0 | 60 | 0.5 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
57 | 250 | 0 | 60 | 0.5 | Before transmission line | 32430.8914 | 103.9772 | 103.9772 | 34228.0166 | 1 | 0 | 0 | 1
58 | 250 | 0 | 60 | 0.5 | Before transmission line | 103.9784 | 81335.1305 | 128.4094 | 26292.2457 | 0 | 1 | 0 | 1
59 | 250 | 0 | 60 | 0.5 | Before transmission line | 126.5773 | 103.9772 | 38068.0724 | 81288.2805 | 0 | 0 | 1 | 1
60 | 250 | 0 | 60 | 0.5 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
61 | 250 | 0 | 60 | 0.6 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 13452.1162 | 1 | 1 | 1 | 1
62 | 250 | 0 | 60 | 0.6 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
63 | 250 | 0 | 60 | 0.6 | Before transmission line | 10801323.85 | 20379715.9 | 103.9772 | 14524.9942 | 1 | 1 | 0 | 1
64 | 250 | 0 | 60 | 0.6 | Before transmission line | 20345722.59 | 103.9772 | 8626015.436 | 33909.5991 | 1 | 0 | 1 | 1
65 | 250 | 0 | 60 | 0.6 | Before transmission line | 103.9784 | 40725475.36 | 7309908.092 | 16605.2678 | 0 | 1 | 1 | 1
66 | 250 | 0 | 60 | 0.6 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
67 | 250 | 0 | 60 | 0.6 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
68 | 250 | 0 | 60 | 0.6 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
69 | 250 | 0 | 60 | 0.6 | Before transmission line | 27049.5994 | 103.9772 | 103.9772 | 28529.5409 | 1 | 0 | 0 | 1
70 | 250 | 0 | 60 | 0.6 | Before transmission line | 103.9784 | 67809.6263 | 128.3881 | 21922.229 | 0 | 1 | 0 | 1
71 | 250 | 0 | 60 | 0.6 | Before transmission line | 103.9784 | 103.9772 | 27167.5373 | 67762.7762 | 0 | 0 | 1 | 1
72 | 250 | 0 | 60 | 0.6 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
73 | 250 | 0 | 60 | 0.7 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 11533.7579 | 1 | 1 | 1 | 1
74 | 250 | 0 | 60 | 0.7 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
75 | 250 | 0 | 60 | 0.7 | Before transmission line | 10805661.29 | 20377295.52 | 103.9772 | 12437.2458 | 1 | 1 | 0 | 1
76 | 250 | 0 | 60 | 0.7 | Before transmission line | 20348142.97 | 105.8279 | 8632910.324 | 29068.8283 | 1 | 0 | 1 | 1
77 | 250 | 0 | 60 | 0.7 | Before transmission line | 103.9784 | 40725475.36 | 7363615.21 | 14245.9142 | 0 | 1 | 1 | 1
78 | 250 | 0 | 60 | 0.7 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
79 | 250 | 0 | 60 | 0.7 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
80 | 250 | 0 | 60 | 0.7 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
81 | 250 | 0 | 60 | 0.7 | Before transmission line | 23201.6688 | 103.9772 | 103.9772 | 24457.6857 | 1 | 0 | 0 | 1
82 | 250 | 0 | 60 | 0.7 | Before transmission line | 103.9784 | 58143.0391 | 128.3728 | 18797.8489 | 0 | 1 | 0 | 1
83 | 250 | 0 | 60 | 0.7 | Before transmission line | 103.9784 | 103.9772 | 23300.0756 | 58096.189 | 0 | 0 | 1 | 1
84 | 250 | 0 | 60 | 0.7 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
85 | 250 | 0 | 60 | 0.8 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 10094.2524 | 1 | 1 | 1 | 1
86 | 250 | 0 | 60 | 0.8 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
87 | 250 | 0 | 60 | 0.8 | Before transmission line | 7973090.901 | 20375479.85 | 103.9772 | 11054.4981 | 1 | 1 | 0 | 1
88 | 250 | 0 | 60 | 0.8 | Before transmission line | 20349958.64 | 103.9772 | 8637942.345 | 25437.4944 | 1 | 0 | 1 | 1
89 | 250 | 0 | 60 | 0.8 | Before transmission line | 103.9784 | 40725475.36 | 6739522.771 | 9260.7552 | 0 | 1 | 1 | 1
90 | 250 | 0 | 60 | 0.8 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
91 | 250 | 0 | 60 | 0.8 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
92 | 250 | 0 | 60 | 0.8 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
93 | 250 | 0 | 60 | 0.8 | Before transmission line | 20313.4489 | 103.9772 | 103.9772 | 21402.9651 | 1 | 0 | 0 | 1
94 | 250 | 0 | 60 | 0.8 | Before transmission line | 103.9784 | 50890.0817 | 128.3614 | 16452.9548 | 0 | 1 | 0 | 1
95 | 250 | 0 | 60 | 0.8 | Before transmission line | 103.9784 | 103.9772 | 20397.6383 | 50843.2316 | 0 | 0 | 1 | 1
96 | 250 | 0 | 60 | 0.8 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
97 | 250 | 0 | 60 | 0.9 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 8974.2001 | 1 | 1 | 1 | 1
98 | 250 | 0 | 60 | 0.9 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
99 | 250 | 0 | 60 | 0.9 | Before transmission line | 10518598.38 | 20374067.44 | 103.9772 | 9660.991 | 1 | 1 | 0 | 1
100 | 250 | 0 | 60 | 0.9 | Before transmission line | 20351371.05 | 103.9772 | 8641775.047 | 22612.6755 | 1 | 0 | 1 | 1
101 | 250 | 0 | 60 | 0.9 | Before transmission line | 103.9784 | 40725475.36 | 7051470.773 | 8458.3637 | 0 | 1 | 1 | 1
102 | 250 | 0 | 60 | 0.9 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
103 | 250 | 0 | 60 | 0.9 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
104 | 250 | 0 | 60 | 0.9 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
105 | 250 | 0 | 60 | 0.9 | Before transmission line | 21200.9706 | 126.678 | 103.9772 | 21105.6872 | 1 | 0 | 0 | 1
106 | 250 | 0 | 60 | 0.9 | Before transmission line | 103.9784 | 45247.1037 | 128.3525 | 14628.194 | 0 | 1 | 0 | 1
107 | 250 | 0 | 60 | 0.9 | Before transmission line | 103.9784 | 103.9772 | 18139.0954 | 45200.2536 | 0 | 0 | 1 | 1
108 | 250 | 0 | 60 | 0.9 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
109 | 250 | 0 | 60 | 1 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 8077.8828 | 1 | 1 | 1 | 1
110 | 250 | 0 | 60 | 1 | Before transmission line | 16097055.71 | 40725475.36 | 16097055.71 | 0.0080878 | 1 | 1 | 1 | 0
111 | 250 | 0 | 60 | 1 | Before transmission line | 10537815.88 | 20372937.37 | 103.9772 | 8691.156 | 1 | 1 | 0 | 1
112 | 250 | 0 | 60 | 1 | Before transmission line | 20352501.12 | 103.9772 | 8644790.87 | 20352.538 | 1 | 0 | 1 | 1
113 | 250 | 0 | 60 | 1 | Before transmission line | 103.9784 | 40725475.36 | 7456063.22 | 9987.6435 | 0 | 1 | 1 | 1
114 | 250 | 0 | 60 | 1 | Before transmission line | 10794282.03 | 20362761.11 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
115 | 250 | 0 | 60 | 1 | Before transmission line | 20362677.38 | 103.9772 | 8615308.284 | 0.020363 | 1 | 0 | 1 | 0
116 | 250 | 0 | 60 | 1 | Before transmission line | 103.9784 | 40725475.36 | 7257318.231 | 0.0099554 | 0 | 1 | 1 | 0
117 | 250 | 0 | 60 | 1 | Before transmission line | 16266.6668 | 103.9772 | 103.9772 | 17125.1618 | 1 | 0 | 0 | 1
118 | 250 | 0 | 60 | 1 | Before transmission line | 103.9784 | 40731.5938 | 128.3453 | 13167.784 | 0 | 1 | 0 | 1
119 | 250 | 0 | 60 | 1 | Before transmission line | 103.9784 | 103.9772 | 16331.5729 | 40684.7438 | 0 | 0 | 1 | 1
120 | 250 | 0 | 60 | 1 | Before transmission line | 103.9784 | 103.9772 | 103.9772 | 7.18e-10 | 0 | 0 | 0 | 0
121 | 250 | 0 | 60 | 0.1 | After transmission line | 767.3107 | 700.111 | 792.7979 | 378.6865 | 1 | 1 | 1 | 1
122 | 250 | 0 | 60 | 0.1 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
123 | 250 | 0 | 60 | 0.1 | After transmission line | 1035.4617 | 967.8542 | 131.5697 | 718.7036 | 1 | 1 | 0 | 1
124 | 250 | 0 | 60 | 0.1 | After transmission line | 864.8195 | 129.3201 | 845.4564 | 503.6704 | 1 | 0 | 1 | 1
125 | 250 | 0 | 60 | 0.1 | After transmission line | 132.3602 | 674.4158 | 802.3895 | 329.8315 | 0 | 1 | 1 | 1
126 | 250 | 0 | 60 | 0.1 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
127 | 250 | 0 | 60 | 0.1 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
128 | 250 | 0 | 60 | 0.1 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
129 | 250 | 0 | 60 | 0.1 | After transmission line | 1031.3052 | 99.1685 | 123.9657 | 654.3723 | 1 | 0 | 0 | 1
130 | 250 | 0 | 60 | 0.1 | After transmission line | 126.9612 | 654.1111 | 85.736 | 905.8806 | 0 | 1 | 0 | 1
131 | 250 | 0 | 60 | 0.1 | After transmission line | 131.5648 | 131.5651 | 770.0303 | 815.7488 | 0 | 0 | 1 | 1
132 | 250 | 0 | 60 | 0.1 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
133 | 250 | 0 | 60 | 0.2 | After transmission line | 767.3107 | 700.111 | 792.7979 | 371.8773 | 1 | 1 | 1 | 1
134 | 250 | 0 | 60 | 0.2 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
135 | 250 | 0 | 60 | 0.2 | After transmission line | 1043.0488 | 583.9426 | 85.0469 | 644.6281 | 1 | 1 | 0 | 1
136 | 250 | 0 | 60 | 0.2 | After transmission line | 956.6173 | 131.6177 | 1250.1539 | 473.3464 | 1 | 0 | 1 | 1
137 | 250 | 0 | 60 | 0.2 | After transmission line | 132.3415 | 681.7538 | 811.3154 | 338.343 | 0 | 1 | 1 | 1
138 | 250 | 0 | 60 | 0.2 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
139 | 250 | 0 | 60 | 0.2 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
140 | 250 | 0 | 60 | 0.2 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
141 | 250 | 0 | 60 | 0.2 | After transmission line | 1021.6658 | 101.2368 | 126.591 | 639.8718 | 1 | 0 | 0 | 1
142 | 250 | 0 | 60 | 0.2 | After transmission line | 131.5655 | 756.8386 | 131.565 | 839.1373 | 0 | 1 | 0 | 1
143 | 250 | 0 | 60 | 0.2 | After transmission line | 94.0435 | 124.982 | 724.7019 | 787.1994 | 0 | 0 | 1 | 1
144 | 250 | 0 | 60 | 0.2 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
145 | 250 | 0 | 60 | 0.3 | After transmission line | 767.3107 | 700.111 | 792.7979 | 376.4967 | 1 | 1 | 1 | 1
146 | 250 | 0 | 60 | 0.3 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
147 | 250 | 0 | 60 | 0.3 | After transmission line | 1050.1328 | 583.4764 | 85.0469 | 637.7645 | 1 | 1 | 0 | 1
148 | 250 | 0 | 60 | 0.3 | After transmission line | 971.4318 | 114.6157 | 1120.1854 | 473.6415 | 1 | 0 | 1 | 1
149 | 250 | 0 | 60 | 0.3 | After transmission line | 133.4715 | 734.6845 | 554.3 | 451.5198 | 0 | 1 | 1 | 1
150 | 250 | 0 | 60 | 0.3 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
151 | 250 | 0 | 60 | 0.3 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
152 | 250 | 0 | 60 | 0.3 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
153 | 250 | 0 | 60 | 0.3 | After transmission line | 1011.6946 | 103.2903 | 129.2277 | 625.1367 | 1 | 0 | 0 | 1
154 | 250 | 0 | 60 | 0.3 | After transmission line | 124.0579 | 636.8765 | 88.1686 | 823.9965 | 0 | 1 | 0 | 1
155 | 250 | 0 | 60 | 0.3 | After transmission line | 131.4745 | 131.4748 | 733.6814 | 718.1655 | 0 | 0 | 1 | 1
156 | 250 | 0 | 60 | 0.3 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
157 | 250 | 0 | 60 | 0.4 | After transmission line | 767.3107 | 700.111 | 792.7979 | 381.3484 | 1 | 1 | 1 | 1
158 | 250 | 0 | 60 | 0.4 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
159 | 250 | 0 | 60 | 0.4 | After transmission line | 1056.7373 | 714.6373 | 131.5295 | 712.0267 | 1 | 1 | 0 | 1
160 | 250 | 0 | 60 | 0.4 | After transmission line | 985.9298 | 113.1388 | 1134.1836 | 473.96 | 1 | 0 | 1 | 1
161 | 250 | 0 | 60 | 0.4 | After transmission line | 132.2908 | 720.5247 | 831.2423 | 354.2385 | 0 | 1 | 1 | 1
162 | 250 | 0 | 60 | 0.4 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
163 | 250 | 0 | 60 | 0.4 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
164 | 250 | 0 | 60 | 0.4 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
165 | 250 | 0 | 60 | 0.4 | After transmission line | 948.6233 | 131.4328 | 131.3991 | 641.4632 | 1 | 0 | 0 | 1
166 | 250 | 0 | 60 | 0.4 | After transmission line | 127.1617 | 435.7179 | 89.3822 | 799.7218 | 0 | 1 | 0 | 1
167 | 250 | 0 | 60 | 0.4 | After transmission line | 131.4239 | 131.4242 | 715.2707 | 692.1077 | 0 | 0 | 1 | 1
168 | 250 | 0 | 60 | 0.4 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
169 | 250 | 0 | 60 | 0.5 | After transmission line | 767.3107 | 700.111 | 792.7979 | 386.4282 | 1 | 1 | 1 | 1
170 | 250 | 0 | 60 | 0.5 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
171 | 250 | 0 | 60 | 0.5 | After transmission line | 1062.8308 | 730.3523 | 131.5139 | 709.2079 | 1 | 1 | 0 | 1
172 | 250 | 0 | 60 | 0.5 | After transmission line | 772.4252 | 131.5687 | 1141.8169 | 474.302 | 1 | 0 | 1 | 1
173 | 250 | 0 | 60 | 0.5 | After transmission line | 133.3801 | 715.6737 | 841.5408 | 361.6581 | 0 | 1 | 1 | 1
174 | 250 | 0 | 60 | 0.5 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
175 | 250 | 0 | 60 | 0.5 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
176 | 250 | 0 | 60 | 0.5 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
177 | 250 | 0 | 60 | 0.5 | After transmission line | 931.5393 | 131.3804 | 131.3469 | 665.4409 | 1 | 0 | 0 | 1
178 | 250 | 0 | 60 | 0.5 | After transmission line | 130.2384 | 527.8683 | 90.5938 | 775.69 | 0 | 1 | 0 | 1
179 | 250 | 0 | 60 | 0.5 | After transmission line | 67.9448 | 124.8629 | 965.0567 | 689.5371 | 0 | 0 | 1 | 1
180 | 250 | 0 | 60 | 0.5 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
181 | 250 | 0 | 60 | 0.6 | After transmission line | 767.3107 | 700.111 | 792.7979 | 391.732 | 1 | 1 | 1 | 1
182 | 250 | 0 | 60 | 0.6 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
183 | 250 | 0 | 60 | 0.6 | After transmission line | 1068.4383 | 670.7602 | 85.0469 | 616.0568 | 1 | 1 | 0 | 1
184 | 250 | 0 | 60 | 0.6 | After transmission line | 861.0951 | 77.5036 | 1100.8975 | 474.6674 | 1 | 0 | 1 | 1
185 | 250 | 0 | 60 | 0.6 | After transmission line | 133.3286 | 717.7915 | 854.9721 | 368.779 | 0 | 1 | 1 | 1
186 | 250 | 0 | 60 | 0.6 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
187 | 250 | 0 | 60 | 0.6 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
188 | 250 | 0 | 60 | 0.6 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
189 | 250 | 0 | 60 | 0.6 | After transmission line | 914.9161 | 113.2715 | 94.9427 | 688.946 | 1 | 0 | 0 | 1
190 | 250 | 0 | 60 | 0.6 | After transmission line | 131.3193 | 566.3137 | 131.319 | 751.8982 | 0 | 1 | 0 | 1
191 | 250 | 0 | 60 | 0.6 | After transmission line | 70.4228 | 128.0986 | 973.5784 | 675.6857 | 0 | 0 | 1 | 1
192 | 250 | 0 | 60 | 0.6 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
193 | 250 | 0 | 60 | 0.7 | After transmission line | 767.3107 | 700.111 | 792.7979 | 397.2557 | 1 | 1 | 1 | 1
194 | 250 | 0 | 60 | 0.7 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
195 | 250 | 0 | 60 | 0.7 | After transmission line | 1073.5671 | 759.6234 | 131.4792 | 702.6535 | 1 | 1 | 0 | 1
196 | 250 | 0 | 60 | 0.7 | After transmission line | 743.5396 | 131.5318 | 1060.0692 | 475.0563 | 1 | 0 | 1 | 1
197 | 250 | 0 | 60 | 0.7 | After transmission line | 133.2734 | 546.8991 | 693.9717 | 284.7957 | 0 | 1 | 1 | 1
198 | 250 | 0 | 60 | 0.7 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
199 | 250 | 0 | 60 | 0.7 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
200 | 250 | 0 | 60 | 0.7 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
201 | 250 | 0 | 60 | 0.7 | After transmission line | 898.7411 | 131.269 | 132.1149 | 711.9858 | 1 | 0 | 0 | 1
202 | 250 | 0 | 60 | 0.7 | After transmission line | 132.567 | 596.6512 | 93.6812 | 728.3436 | 0 | 1 | 0 | 1
203 | 250 | 0 | 60 | 0.7 | After transmission line | 131.254 | 131.254 | 967.6377 | 620.5952 | 0 | 0 | 1 | 1
204 | 250 | 0 | 60 | 0.7 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
205 | 250 | 0 | 60 | 0.8 | After transmission line | 767.3107 | 700.111 | 792.7979 | 402.9957 | 1 | 1 | 1 | 1
206 | 250 | 0 | 60 | 0.8 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
207 | 250 | 0 | 60 | 0.8 | After transmission line | 1078.2251 | 673.1862 | 85.0469 | 600.9497 | 1 | 1 | 0 | 1
208 | 250 | 0 | 60 | 0.8 | After transmission line | 886.4731 | 98.8627 | 775.418 | 475.4685 | 1 | 0 | 1 | 1
209 | 250 | 0 | 60 | 0.8 | After transmission line | 133.2149 | 506.7601 | 692.6301 | 272.5551 | 0 | 1 | 1 | 1
210 | 250 | 0 | 60 | 0.8 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
211 | 250 | 0 | 60 | 0.8 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
212 | 250 | 0 | 60 | 0.8 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
213 | 250 | 0 | 60 | 0.8 | After transmission line | 883.0017 | 131.21 | 134.2748 | 734.5675 | 1 | 0 | 0 | 1
214 | 250 | 0 | 60 | 0.8 | After transmission line | 106.9282 | 408.1283 | 103.0476 | 705.0232 | 0 | 1 | 0 | 1
215 | 250 | 0 | 60 | 0.8 | After transmission line | 104.5304 | 86.5987 | 926.0743 | 610.7221 | 0 | 0 | 1 | 1
216 | 250 | 0 | 60 | 0.8 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
217 | 250 | 0 | 60 | 0.9 | After transmission line | 767.3107 | 700.111 | 792.7979 | 408.9483 | 1 | 1 | 1 | 1
218 | 250 | 0 | 60 | 0.9 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
219 | 250 | 0 | 60 | 0.9 | After transmission line | 1082.4206 | 789.2867 | 85.0469 | 593.2503 | 1 | 1 | 0 | 1
220 | 250 | 0 | 60 | 0.9 | After transmission line | 942.5994 | 97.4552 | 795.5401 | 475.9041 | 1 | 0 | 1 | 1
221 | 250 | 0 | 60 | 0.9 | After transmission line | 133.153 | 505.7075 | 691.2246 | 260.6625 | 0 | 1 | 1 | 1
222 | 250 | 0 | 60 | 0.9 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
223 | 250 | 0 | 60 | 0.9 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
224 | 250 | 0 | 60 | 0.9 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
225 | 250 | 0 | 60 | 0.9 | After transmission line | 867.6856 | 131.1486 | 136.4248 | 756.6978 | 1 | 0 | 0 | 1
226 | 250 | 0 | 60 | 0.9 | After transmission line | 110.9207 | 414.8397 | 105.0579 | 681.9346 | 0 | 1 | 0 | 1
227 | 250 | 0 | 60 | 0.9 | After transmission line | 106.5187 | 91.3645 | 885.648 | 601.0533 | 0 | 0 | 1 | 1
228 | 250 | 0 | 60 | 0.9 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0
229 | 250 | 0 | 60 | 1 | After transmission line | 767.3107 | 700.111 | 792.7979 | 415.1099 | 1 | 1 | 1 | 1
230 | 250 | 0 | 60 | 1 | After transmission line | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
231 | 250 | 0 | 60 | 1 | After transmission line | 1086.1627 | 675.7491 | 85.0469 | 585.4793 | 1 | 1 | 0 | 1
232 | 250 | 0 | 60 | 1 | After transmission line | 488.8934 | 131.4729 | 840.8784 | 515.191 | 1 | 0 | 1 | 1
233 | 250 | 0 | 60 | 1 | After transmission line | 133.0879 | 508.1674 | 689.7646 | 249.1103 | 0 | 1 | 1 | 1
234 | 250 | 0 | 60 | 1 | After transmission line | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
235 | 250 | 0 | 60 | 1 | After transmission line | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
236 | 250 | 0 | 60 | 1 | After transmission line | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
237 | 250 | 0 | 60 | 1 | After transmission line | 852.7806 | 75.2923 | 102.6836 | 778.3837 | 1 | 0 | 0 | 1
238 | 250 | 0 | 60 | 1 | After transmission line | 114.8692 | 421.4921 | 107.068 | 659.075 | 0 | 1 | 0 | 1
239 | 250 | 0 | 60 | 1 | After transmission line | 131.0678 | 131.0679 | 846.3774 | 591.6231 | 0 | 0 | 1 | 1
240 | 250 | 0 | 60 | 1 | After transmission line | 72.1093 | 132.0854 | 115.7165 | 1.13e-09 | 0 | 0 | 0 | 0

## data train 80%
No | Phase-to-phase Voltage (Vrms) kV | Phase angle | Frequency | Fault ground Resistance Ω | Fault Location | Type of Fault | Max. Coefficient of Phase A Current | Max. Coefficient of Phase B Current | Max. Coefficient of Phase C Current | Max. Coefficient of Ground Current | Output Value for Phase A | Output Value for Phase A | Output Value for Phase A | Output Value for Phase A
1 | 250 | 0 | 60 | 0.1 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 79893.3011 | 1 | 1 | 1 | 1
2 | 250 | 0 | 60 | 0.1 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
3 | 250 | 0 | 60 | 0.1 | Before transmission line | AB-G | 10803035.417 | 20464068.1394 | 103.9772 | 86421.4786 | 1 | 1 | 0 | 1
4 | 250 | 0 | 60 | 0.1 | Before transmission line | AC-G | 20261370.3514 | 103.9772 | 8624427.5583 | 202614.0722 | 1 | 0 | 1 | 1
5 | 250 | 0 | 60 | 0.1 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 7176136.7219 | 99363.726 | 0 | 1 | 1 | 1
6 | 250 | 0 | 60 | 0.1 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
7 | 250 | 0 | 60 | 0.1 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
8 | 250 | 0 | 60 | 0.1 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
9 | 250 | 0 | 60 | 0.1 | Before transmission line | A-G | 159569.0423 | 103.9772 | 103.9772 | 170252.9871 | 1 | 0 | 0 | 1
10 | 250 | 0 | 60 | 0.1 | Before transmission line | B-G | 103.9784 | 403268.9145 | 128.9201 | 129747.0043 | 0 | 1 | 0 | 1
11 | 250 | 0 | 60 | 0.1 | Before transmission line | C-G | 103.9784 | 103.9772 | 160779.452 | 403222.0644 | 0 | 0 | 1 | 1
12 | 250 | 0 | 60 | 0.1 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
13 |  |  |  | 0.3 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 26849.249 | 1 | 1 | 1 | 1
14 |  |  |  | 0.3 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
15 |  |  |  | 0.3 | Before transmission line | AB-G | 10598171.3513 | 20396642.4914 | 103.9772 | 28839.3902 | 1 | 1 | 0 | 1
16 |  |  |  | 0.3 | Before transmission line | AC-G | 20328795.9994 | 103.9772 | 8656263.674 | 67762.7762 | 1 | 0 | 1 | 1
17 |  |  |  | 0.3 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 8046057.3996 | 33314.9255 | 0 | 1 | 1 | 1
18 |  |  |  | 0.3 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
19 |  |  |  | 0.3 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
20 |  |  |  | 0.3 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
21 |  |  |  | 0.3 | Before transmission line | A-G | 53888.4225 | 103.9772 | 103.9772 | 56997.1982 | 1 | 0 | 0 | 1
22 |  |  |  | 0.3 | Before transmission line | B-G | 103.9784 | 135347.277 | 128.4948 | 43724.4084 | 0 | 1 | 0 | 1
23 |  |  |  | 0.3 | Before transmission line | C-G | 103.9784 | 103.9772 | 54161.4133 | 135300.4269 | 0 | 0 | 1 | 1
24 |  |  |  | 0.3 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
25 |  |  |  | 0.5 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 16135.9328 | 1 | 1 | 1 | 1
26 |  |  |  | 0.5 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
27 |  |  |  | 0.5 | Before transmission line | AB-G | 10795306.0234 | 20383103.4752 | 103.9772 | 17456.533 | 1 | 1 | 0 | 1
28 |  |  |  | 0.5 | Before transmission line | AC-G | 20342335.0156 | 103.9772 | 8616010.2621 | 40684.7438 | 1 | 0 | 1 | 1
29 |  |  |  | 0.5 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 7278860.9469 | 18873.4976 | 0 | 1 | 1 | 1
30 |  |  |  | 0.5 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
31 |  |  |  | 0.5 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
32 |  |  |  | 0.5 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
33 |  |  |  | 0.5 | Before transmission line | A-G | 32430.8914 | 103.9772 | 103.9772 | 34228.0166 | 1 | 0 | 0 | 1
34 |  |  |  | 0.5 | Before transmission line | B-G | 103.9784 | 81335.1305 | 128.4094 | 26292.2457 | 0 | 1 | 0 | 1
35 |  |  |  | 0.5 | Before transmission line | C-G | 126.5773 | 103.9772 | 38068.0723 | 81288.2805 | 0 | 0 | 1 | 1
36 |  |  |  | 0.5 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
37 |  |  |  | 0.6 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 13452.1162 | 1 | 1 | 1 | 1
38 |  |  |  | 0.6 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
39 |  |  |  | 0.6 | Before transmission line | AB-G | 10801323.8524 | 20379715.9028 | 103.9772 | 14524.9942 | 1 | 1 | 0 | 1
40 |  |  |  | 0.6 | Before transmission line | AC-G | 20345722.588 | 103.9772 | 8626015.4361 | 33909.5991 | 1 | 0 | 1 | 1
41 |  |  |  | 0.6 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 7309908.092 | 16605.2678 | 0 | 1 | 1 | 1
42 |  |  |  | 0.6 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
43 |  |  |  | 0.6 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
44 |  |  |  | 0.6 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
45 |  |  |  | 0.6 | Before transmission line | A-G | 27049.5994 | 103.9772 | 103.9772 | 28529.5409 | 1 | 0 | 0 | 1
46 |  |  |  | 0.6 | Before transmission line | B-G | 103.9784 | 67809.6263 | 128.3881 | 21922.229 | 0 | 1 | 0 | 1
47 |  |  |  | 0.6 | Before transmission line | C-G | 103.9784 | 103.9772 | 27167.5373 | 67762.7762 | 0 | 0 | 1 | 1
48 |  |  |  | 0.6 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
49 |  |  |  | 0.7 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 11533.7579 | 1 | 1 | 1 | 1
50 |  |  |  | 0.7 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
51 |  |  |  | 0.7 | Before transmission line | AB-G | 10805661.288 | 20377295.5175 | 103.9772 | 12437.2458 | 1 | 1 | 0 | 1
52 |  |  |  | 0.7 | Before transmission line | AC-G | 20348142.9733 | 105.8279 | 8632910.3239 | 29068.8283 | 1 | 0 | 1 | 1
53 |  |  |  | 0.7 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 7363615.2097 | 14245.9142 | 0 | 1 | 1 | 1
54 |  |  |  | 0.7 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
55 |  |  |  | 0.7 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
56 |  |  |  | 0.7 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
57 |  |  |  | 0.7 | Before transmission line | A-G | 23201.6688 | 103.9772 | 103.9772 | 24457.6857 | 1 | 0 | 0 | 1
58 |  |  |  | 0.7 | Before transmission line | B-G | 103.9784 | 58143.0391 | 128.3728 | 18797.8489 | 0 | 1 | 0 | 1
59 |  |  |  | 0.7 | Before transmission line | C-G | 103.9784 | 103.9772 | 23300.0756 | 58096.189 | 0 | 0 | 1 | 1
60 |  |  |  | 0.7 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
61 |  |  |  | 0.8 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 10094.2524 | 1 | 1 | 1 | 1
62 |  |  |  | 0.8 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
63 |  |  |  | 0.8 | Before transmission line | AB-G | 7973090.9014 | 20375479.8505 | 103.9772 | 11054.4981 | 1 | 1 | 0 | 1
64 |  |  |  | 0.8 | Before transmission line | AC-G | 20349958.6403 | 103.9772 | 8637942.3454 | 25437.4944 | 1 | 0 | 1 | 1
65 |  |  |  | 0.8 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 6739522.7707 | 9260.7552 | 0 | 1 | 1 | 1
66 |  |  |  | 0.8 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
67 |  |  |  | 0.8 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
68 |  |  |  | 0.8 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
69 |  |  |  | 0.8 | Before transmission line | A-G | 20313.4489 | 103.9772 | 103.9772 | 21402.9651 | 1 | 0 | 0 | 1
70 |  |  |  | 0.8 | Before transmission line | B-G | 103.9784 | 50890.0817 | 128.3614 | 16452.9548 | 0 | 1 | 0 | 1
71 |  |  |  | 0.8 | Before transmission line | C-G | 103.9784 | 103.9772 | 20397.6383 | 50843.2316 | 0 | 0 | 1 | 1
72 |  |  |  | 0.8 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
73 |  |  |  | 0.9 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 8974.2001 | 1 | 1 | 1 | 1
74 |  |  |  | 0.9 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
75 |  |  |  | 0.9 | Before transmission line | AB-G | 10518598.3811 | 20374067.441 | 103.9772 | 9660.991 | 1 | 1 | 0 | 1
76 |  |  |  | 0.9 | Before transmission line | AC-G | 20351371.0498 | 103.9772 | 8641775.0472 | 22612.6755 | 1 | 0 | 1 | 1
77 |  |  |  | 0.9 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 7051470.7734 | 8458.3637 | 0 | 1 | 1 | 1
78 |  |  |  | 0.9 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
79 |  |  |  | 0.9 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
80 |  |  |  | 0.9 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
81 |  |  |  | 0.9 | Before transmission line | A-G | 21200.9706 | 126.678 | 103.9772 | 21105.6872 | 1 | 0 | 0 | 1
82 |  |  |  | 0.9 | Before transmission line | B-G | 103.9784 | 45247.1037 | 128.3525 | 14628.194 | 0 | 1 | 0 | 1
83 |  |  |  | 0.9 | Before transmission line | C-G | 103.9784 | 103.9772 | 18139.0954 | 45200.2536 | 0 | 0 | 1 | 1
84 |  |  |  | 0.9 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
85 |  |  |  | 1 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 8077.8828 | 1 | 1 | 1 | 1
86 |  |  |  | 1 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
87 |  |  |  | 1 | Before transmission line | AB-G | 10537815.8844 | 20372937.3723 | 103.9772 | 8691.156 | 1 | 1 | 0 | 1
88 |  |  |  | 1 | Before transmission line | AC-G | 20352501.1185 | 103.9772 | 8644790.8704 | 20352.538 | 1 | 0 | 1 | 1
89 |  |  |  | 1 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 7456063.2204 | 9987.6435 | 0 | 1 | 1 | 1
90 |  |  |  | 1 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
91 |  |  |  | 1 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
92 |  |  |  | 1 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
93 |  |  |  | 1 | Before transmission line | A-G | 16266.6668 | 103.9772 | 103.9772 | 17125.1618 | 1 | 0 | 0 | 1
94 |  |  |  | 1 | Before transmission line | B-G | 103.9784 | 40731.5938 | 128.3453 | 13167.784 | 0 | 1 | 0 | 1
95 |  |  |  | 1 | Before transmission line | C-G | 103.9784 | 103.9772 | 16331.5729 | 40684.7438 | 0 | 0 | 1 | 1
96 |  |  |  | 1 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
97 |  |  |  | 0.2 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 371.8773 | 1 | 1 | 1 | 1
98 |  |  |  | 0.2 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
99 |  |  |  | 0.2 | After transmission line | AB-G | 1043.0488 | 583.9426 | 85.0469 | 644.6281 | 1 | 1 | 0 | 1
100 |  |  |  | 0.2 | After transmission line | AC-G | 956.6173 | 131.6177 | 1250.1539 | 473.3464 | 1 | 0 | 1 | 1
101 |  |  |  | 0.2 | After transmission line | BC-G | 132.3415 | 681.7538 | 811.3154 | 338.343 | 0 | 1 | 1 | 1
102 |  |  |  | 0.2 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
103 |  |  |  | 0.2 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
104 |  |  |  | 0.2 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
105 |  |  |  | 0.2 | After transmission line | A-G | 1021.6658 | 101.2368 | 126.591 | 639.8718 | 1 | 0 | 0 | 1
106 |  |  |  | 0.2 | After transmission line | B-G | 131.5655 | 756.8386 | 131.565 | 839.1373 | 0 | 1 | 0 | 1
107 |  |  |  | 0.2 | After transmission line | C-G | 94.0435 | 124.982 | 724.7019 | 787.1994 | 0 | 0 | 1 | 1
108 |  |  |  | 0.2 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
109 |  |  |  | 0.3 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 376.4967 | 1 | 1 | 1 | 1
110 |  |  |  | 0.3 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
111 |  |  |  | 0.3 | After transmission line | AB-G | 1050.1328 | 583.4764 | 85.0469 | 637.7645 | 1 | 1 | 0 | 1
112 |  |  |  | 0.3 | After transmission line | AC-G | 971.4318 | 114.6157 | 1120.1854 | 473.6415 | 1 | 0 | 1 | 1
113 |  |  |  | 0.3 | After transmission line | BC-G | 133.4715 | 734.6845 | 554.3 | 451.5198 | 0 | 1 | 1 | 1
114 |  |  |  | 0.3 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
115 |  |  |  | 0.3 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
116 |  |  |  | 0.3 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
117 |  |  |  | 0.3 | After transmission line | A-G | 1011.6946 | 103.2903 | 129.2277 | 625.1367 | 1 | 0 | 0 | 1
118 |  |  |  | 0.3 | After transmission line | B-G | 124.0579 | 636.8765 | 88.1686 | 823.9965 | 0 | 1 | 0 | 1
119 |  |  |  | 0.3 | After transmission line | C-G | 131.4745 | 131.4748 | 733.6814 | 718.1655 | 0 | 0 | 1 | 1
120 |  |  |  | 0.3 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
121 |  |  |  | 0.4 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 381.3484 | 1 | 1 | 1 | 1
122 |  |  |  | 0.4 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
123 |  |  |  | 0.4 | After transmission line | AB-G | 1056.7373 | 714.6373 | 131.5295 | 712.0267 | 1 | 1 | 0 | 1
124 |  |  |  | 0.4 | After transmission line | AC-G | 985.9298 | 113.1388 | 1134.1836 | 473.96 | 1 | 0 | 1 | 1
125 |  |  |  | 0.4 | After transmission line | BC-G | 132.2908 | 720.5247 | 831.2423 | 354.2385 | 0 | 1 | 1 | 1
126 |  |  |  | 0.4 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
127 |  |  |  | 0.4 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
128 |  |  |  | 0.4 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
129 |  |  |  | 0.4 | After transmission line | A-G | 948.6233 | 131.4328 | 131.3991 | 641.4632 | 1 | 0 | 0 | 1
130 |  |  |  | 0.4 | After transmission line | B-G | 127.1617 | 435.7179 | 89.3822 | 799.7218 | 0 | 1 | 0 | 1
131 |  |  |  | 0.4 | After transmission line | C-G | 131.4239 | 131.4242 | 715.2707 | 692.1077 | 0 | 0 | 1 | 1
132 |  |  |  | 0.4 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
133 |  |  |  | 0.5 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 386.4282 | 1 | 1 | 1 | 1
134 |  |  |  | 0.5 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
135 |  |  |  | 0.5 | After transmission line | AB-G | 1062.8308 | 730.3523 | 131.5139 | 709.2079 | 1 | 1 | 0 | 1
136 |  |  |  | 0.5 | After transmission line | AC-G | 772.4252 | 131.5687 | 1141.8169 | 474.302 | 1 | 0 | 1 | 1
137 |  |  |  | 0.5 | After transmission line | BC-G | 133.3801 | 715.6737 | 841.5408 | 361.6581 | 0 | 1 | 1 | 1
138 |  |  |  | 0.5 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
139 |  |  |  | 0.5 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
140 |  |  |  | 0.5 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
141 |  |  |  | 0.5 | After transmission line | A-G | 931.5393 | 131.3804 | 131.3469 | 665.4409 | 1 | 0 | 0 | 1
142 |  |  |  | 0.5 | After transmission line | B-G | 130.2384 | 527.8683 | 90.5938 | 775.69 | 0 | 1 | 0 | 1
143 |  |  |  | 0.5 | After transmission line | C-G | 67.9448 | 124.8629 | 965.0567 | 689.5371 | 0 | 0 | 1 | 1
144 |  |  |  | 0.5 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
145 |  |  |  | 0.6 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 391.732 | 1 | 1 | 1 | 1
146 |  |  |  | 0.6 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
147 |  |  |  | 0.6 | After transmission line | AB-G | 1068.4383 | 670.7602 | 85.0469 | 616.0568 | 1 | 1 | 0 | 1
148 |  |  |  | 0.6 | After transmission line | AC-G | 861.0951 | 77.5036 | 1100.8975 | 474.6674 | 1 | 0 | 1 | 1
149 |  |  |  | 0.6 | After transmission line | BC-G | 133.3286 | 717.7915 | 854.9721 | 368.779 | 0 | 1 | 1 | 1
150 |  |  |  | 0.6 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
151 |  |  |  | 0.6 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
152 |  |  |  | 0.6 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
153 |  |  |  | 0.6 | After transmission line | A-G | 914.9161 | 113.2715 | 94.9427 | 688.946 | 1 | 0 | 0 | 1
154 |  |  |  | 0.6 | After transmission line | B-G | 131.3193 | 566.3137 | 131.319 | 751.8982 | 0 | 1 | 0 | 1
155 |  |  |  | 0.6 | After transmission line | C-G | 70.4228 | 128.0986 | 973.5784 | 675.6857 | 0 | 0 | 1 | 1
156 |  |  |  | 0.6 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
157 |  |  |  | 0.7 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 397.2557 | 1 | 1 | 1 | 1
158 |  |  |  | 0.7 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
159 |  |  |  | 0.7 | After transmission line | AB-G | 1073.5671 | 759.6234 | 131.4792 | 702.6535 | 1 | 1 | 0 | 1
160 |  |  |  | 0.7 | After transmission line | AC-G | 743.5396 | 131.5318 | 1060.0692 | 475.0563 | 1 | 0 | 1 | 1
161 |  |  |  | 0.7 | After transmission line | BC-G | 133.2734 | 546.8991 | 693.9717 | 284.7957 | 0 | 1 | 1 | 1
162 |  |  |  | 0.7 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
163 |  |  |  | 0.7 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
164 |  |  |  | 0.7 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
165 |  |  |  | 0.7 | After transmission line | A-G | 898.7411 | 131.269 | 132.1149 | 711.9858 | 1 | 0 | 0 | 1
166 |  |  |  | 0.7 | After transmission line | B-G | 132.567 | 596.6512 | 93.6812 | 728.3436 | 0 | 1 | 0 | 1
167 |  |  |  | 0.7 | After transmission line | C-G | 131.254 | 131.254 | 967.6377 | 620.5952 | 0 | 0 | 1 | 1
168 |  |  |  | 0.7 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
169 |  |  |  | 0.9 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 408.9483 | 1 | 1 | 1 | 1
170 |  |  |  | 0.9 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
171 |  |  |  | 0.9 | After transmission line | AB-G | 1082.4206 | 789.2867 | 85.0469 | 593.2503 | 1 | 1 | 0 | 1
172 |  |  |  | 0.9 | After transmission line | AC-G | 942.5994 | 97.4552 | 795.5401 | 475.9041 | 1 | 0 | 1 | 1
173 |  |  |  | 0.9 | After transmission line | BC-G | 133.153 | 505.7075 | 691.2246 | 260.6625 | 0 | 1 | 1 | 1
174 |  |  |  | 0.9 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
175 |  |  |  | 0.9 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
176 |  |  |  | 0.9 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
177 |  |  |  | 0.9 | After transmission line | A-G | 867.6856 | 131.1486 | 136.4248 | 756.6978 | 1 | 0 | 0 | 1
178 |  |  |  | 0.9 | After transmission line | B-G | 110.9207 | 414.8397 | 105.0579 | 681.9346 | 0 | 1 | 0 | 1
179 |  |  |  | 0.9 | After transmission line | C-G | 106.5187 | 91.3645 | 885.648 | 601.0533 | 0 | 0 | 1 | 1
180 |  |  |  | 0.9 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
181 |  |  |  | 1 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 415.1099 | 1 | 1 | 1 | 1
182 |  |  |  | 1 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
183 |  |  |  | 1 | After transmission line | AB-G | 1086.1627 | 675.7491 | 85.0469 | 585.4793 | 1 | 1 | 0 | 1
184 |  |  |  | 1 | After transmission line | AC-G | 488.8934 | 131.4729 | 840.8784 | 515.191 | 1 | 0 | 1 | 1
185 |  |  |  | 1 | After transmission line | BC-G | 133.0879 | 508.1674 | 689.7646 | 249.1103 | 0 | 1 | 1 | 1
186 |  |  |  | 1 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
187 |  |  |  | 1 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
188 |  |  |  | 1 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
189 |  |  |  | 1 | After transmission line | A-G | 852.7806 | 75.2923 | 102.6836 | 778.3837 | 1 | 0 | 0 | 1
190 |  |  |  | 1 | After transmission line | B-G | 114.8692 | 421.4921 | 107.068 | 659.075 | 0 | 1 | 0 | 1
191 |  |  |  | 1 | After transmission line | C-G | 131.0678 | 131.0679 | 846.3774 | 591.6231 | 0 | 0 | 1 | 1
192 |  |  |  | 1 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0

## data test 20%
No | Phase-to-phase Voltage (Vrms) kV | Phase angle | Frequency | Fault ground Resistance Ω | Fault Location | Type of Fault | Max. Coefficient of Phase A Current | Max. Coefficient of Phase B Current | Max. Coefficient of Phase C Current | Max. Coefficient of Ground Current | Output Value for Phase A | Output Value for Phase A | Output Value for Phase A | Output Value for Phase A
1 |  |  |  | 0.2 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 40191.6674 | 1 | 1 | 1 | 1
2 |  |  |  | 0.2 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
3 |  |  |  | 0.2 | Before transmission line | AB-G | 10541882.0326 | 20413540.9393 | 103.9772 | 43240.8096 | 1 | 1 | 0 | 1
4 |  |  |  | 0.2 | Before transmission line | AC-G | 20311897.5515 | 103.9772 | 8648865.213 | 101559.6721 | 1 | 0 | 1 | 1
5 |  |  |  | 0.2 | Before transmission line | BC-G | 103.9784 | 40725475.3565 | 7428001.7318 | 49903.181 | 0 | 1 | 1 | 1
6 |  |  |  | 0.2 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
7 |  |  |  | 0.2 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
8 |  |  |  | 0.2 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
9 |  |  |  | 0.2 | Before transmission line | A-G | 80558.7655 | 103.9772 | 103.9772 | 85403.1725 | 1 | 0 | 0 | 1
10 |  |  |  | 0.2 | Before transmission line | B-G | 103.9784 | 202660.9222 | 128.6014 | 65407.2607 | 0 | 1 | 0 | 1
11 |  |  |  | 0.2 | Before transmission line | C-G | 103.9784 | 103.9772 | 81018.7426 | 202614.0722 | 0 | 0 | 1 | 1
12 |  |  |  | 0.2 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
13 |  |  |  | 0.4 | Before transmission line | ABC-G | 16097055.712 | 40725475.3565 | 16097055.712 | 20157.5386 | 1 | 1 | 1 | 1
14 |  |  |  | 0.4 | Before transmission line | ABC | 16097055.712 | 40725475.3565 | 16097055.712 | 0.0080878 | 1 | 1 | 1 | 0
15 |  |  |  | 0.4 | Before transmission line | AB-G | 9348589.7501 | 20388182.7191 | 103.9772 | 21207.2512 | 1 | 1 | 0 | 1
16 |  |  |  | 0.4 | Before transmission line | AC-G | 20337255.7717 | 105.2671 | 7557852.6831 | 50843.2316 | 1 | 0 | 1 | 1
17 |  |  |  | 0.4 | Before transmission line | BC-G | 134.966 | 40725475.3565 | 7155479.2778 | 24302.1739 | 0 | 1 | 1 | 1
18 |  |  |  | 0.4 | Before transmission line | A-B | 10794282.0298 | 20362761.1135 | 103.9772 | 0.0087475 | 1 | 1 | 0 | 0
19 |  |  |  | 0.4 | Before transmission line | A-C | 20362677.3773 | 103.9772 | 8615308.2839 | 0.020363 | 1 | 0 | 1 | 0
20 |  |  |  | 0.4 | Before transmission line | B-C | 103.9784 | 40725475.3565 | 7257318.2308 | 0.0099554 | 0 | 1 | 1 | 0
21 |  |  |  | 0.4 | Before transmission line | A-G | 40490.1347 | 103.9772 | 103.9772 | 42771.0924 | 1 | 0 | 0 | 1
22 |  |  |  | 0.4 | Before transmission line | B-G | 103.9784 | 101606.5222 | 128.4415 | 32838.2796 | 0 | 1 | 0 | 1
23 |  |  |  | 0.4 | Before transmission line | C-G | 103.9784 | 103.9772 | 40681.5941 | 101559.6721 | 0 | 0 | 1 | 1
24 |  |  |  | 0.4 | Before transmission line | NO FAULT | 103.9784 | 103.9772 | 103.9772 | 7.1763e-10 | 0 | 0 | 0 | 0
25 |  |  |  | 0.1 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 378.6865 | 1 | 1 | 1 | 1
26 |  |  |  | 0.1 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
27 |  |  |  | 0.1 | After transmission line | AB-G | 1035.4617 | 967.8542 | 131.5697 | 718.7036 | 1 | 1 | 0 | 1
28 |  |  |  | 0.1 | After transmission line | AC-G | 864.8195 | 129.3201 | 845.4564 | 503.6704 | 1 | 0 | 1 | 1
29 |  |  |  | 0.1 | After transmission line | BC-G | 132.3602 | 674.4158 | 802.3895 | 329.8315 | 0 | 1 | 1 | 1
30 |  |  |  | 0.1 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
31 |  |  |  | 0.1 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
32 |  |  |  | 0.1 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
33 |  |  |  | 0.1 | After transmission line | A-G | 1031.3052 | 99.1685 | 123.9657 | 654.3723 | 1 | 0 | 0 | 1
34 |  |  |  | 0.1 | After transmission line | B-G | 126.9612 | 654.1111 | 85.736 | 905.8806 | 0 | 1 | 0 | 1
35 |  |  |  | 0.1 | After transmission line | C-G | 131.5648 | 131.5651 | 770.0303 | 815.7488 | 0 | 0 | 1 | 1
36 |  |  |  | 0.1 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0
37 |  |  |  | 0.8 | After transmission line | ABC-G | 767.3107 | 700.111 | 792.7979 | 402.9957 | 1 | 1 | 1 | 1
38 |  |  |  | 0.8 | After transmission line | ABC | 919.8271 | 976.9918 | 728.7967 | 0.014297 | 1 | 1 | 1 | 0
39 |  |  |  | 0.8 | After transmission line | AB-G | 1078.2251 | 673.1862 | 85.0469 | 600.9497 | 1 | 1 | 0 | 1
40 |  |  |  | 0.8 | After transmission line | AC-G | 886.4731 | 98.8627 | 775.418 | 475.4685 | 1 | 0 | 1 | 1
41 |  |  |  | 0.8 | After transmission line | BC-G | 133.2149 | 506.7601 | 692.6301 | 272.5551 | 0 | 1 | 1 | 1
42 |  |  |  | 0.8 | After transmission line | A-B | 502.8042 | 527.854 | 114.1036 | 0.0051202 | 1 | 1 | 0 | 0
43 |  |  |  | 0.8 | After transmission line | A-C | 373.9172 | 99.4121 | 488.2035 | 0.01363 | 1 | 0 | 1 | 0
44 |  |  |  | 0.8 | After transmission line | B-C | 115.7232 | 594.5955 | 735.5252 | 0.010354 | 0 | 1 | 1 | 0
45 |  |  |  | 0.8 | After transmission line | A-G | 883.0017 | 131.21 | 134.2748 | 734.5675 | 1 | 0 | 0 | 1
46 |  |  |  | 0.8 | After transmission line | B-G | 106.9282 | 408.1283 | 103.0476 | 705.0232 | 0 | 1 | 0 | 1
47 |  |  |  | 0.8 | After transmission line | C-G | 104.5304 | 86.5987 | 926.0743 | 610.7221 | 0 | 0 | 1 | 1
48 |  |  |  | 0.8 | After transmission line | NO FAULT | 72.1093 | 132.0854 | 115.7165 | 1.1268e-09 | 0 | 0 | 0 | 0